
 180x10W LED CITY LIGHTS

        DIRECTIONS FOR USE
                                                  [image: image1.jpg]


                                    
[image: image5.jpg]QO OO




[image: image2.jpg]


[image: image3.jpg]


                

1. Display Screen：
[image: image4.jpg]- 3. ey g
R o oo A5 D8
P4 Yot 1o A 08 T LT 1B
17323y 3 3L,
1 3O 30ODLLRY,
1 100 II0ED
)’)’)’)’)’J"J"J’)’J’"
)2 IR IR W





                                             A .Function keys
                      E                      B．+

    C.  -
                                              D．Enter

                                              E．LED

A    B   C    D

Instructions: press A (have many options

change effect, effect,press D to determine),

DMX512 have(7/3 channel, channel 9/13) can choose,

     choose what you need,can press D to determine,
2. LED，Function table（Choose the 
required functionality, press D to determine）

	NO
	FUNCTION
	FUNCTIONAL SPECIFICATIONS

	1
	d001
	（001—512）  B、C   ( Change the data)

	2
	C H
	3CH   7CH     9CH     13CH 

（001—512） ( Change the data)

	3
	CC50
	A color change    （00—99）
B、C (Control the speed of the color change)

	4
	CP50
	Changes of mixed color （00—99）
B、C   (Control the speed of change)

	5
	DE50 
	The fast pace of change color    （00—99）
B、C  ( Control the speed of the color change)

	6
	PE50
	Self propelled 2（ 00—99）

	7
	R255
	Red（000—255）  B、C（change）


	8
	G255
	Green（000—255）   B、C （change）


	9
	B255
	Blue （000—255）   B、C （change）


	10
	A L
	Master-slave


3. DMX512 (3CH)
	NO
	Function
	FUNCTIONAL SPECIFICATIONS

	1 CH
	Red
	Change the brightness of the red

	2 CH
	Green
	Change the brightness of the green

	3 CH
	Blue
	Change the brightness of the blue


4.DMX512（7CH)
	NO
	Function
	FUNCTIONAL SPECIFICATIONS

	1 CH
	Dimmer
	Control the brightness

	2 CH
	SHUTTER
	Stroboscopic speed control

	         3CH
	Program selection

	0-100 ：(Color change) 

101—255 ：(Slow transformation)


	4 CH
	Self propelled
	Self propelled 1 (10-128)   

Self propelled 2 (129-255)

	5 CH
	Red
	Change the brightness of the red

	6 CH
	Green
	Change the brightness of the green

	7 CH
	Blue
	Change the brightness of the blue


5.DMX512 (13CH) 

	NO
	Function
	FUNCTIONAL SPECIFICATIONS

	1 CH
	Dimmer
	Control the brightness

	2 CH
	SHUTTER
	Stroboscopic speed control

	3CH
	Program selection


	0-100 ：(Color change) 

101—255 ：(Slow transformation)



	4 CH
	Self propelled
	Self propelled 1 (10-128)

Self propelled 2 (129-255)

	5 CH
	Red    1
	Change the brightness of the red     1

	6 CH
	Green   1
	Change the brightness of the green   1

	7 CH
	Blue     1
	Change the brightness of the blue     1

	8 CH
	Red     2
	Change the brightness of the red     2

	9 CH
	Green   2
	Change the brightness of the green   2

	13 CH
	Blue     2
	Change the brightness of the blue    2

	.....
	.....
	.......


 o 

 Thank you very much for using CITY LIGHT 

 LED series stage lighting ,please check the voltage

 For safe operation Of  this product
7 . Technical parameters  

Voltage : AC220V-240V  /  Frequency : 50/60Hz  

Power : 1200 W  

Source : LED.High.brightness.lamp.beads 


(180*3in1ledfull.colo) 
Cooling System : fan cooling  

 Channel : 3channels/7channels /9channels

/13 channels
                                                                                                                                            Package : 700mm×390mm×790mm 
  Net weight  :  48kg   

